## Sheet1
N° ID | CATEGORY | DEVICE NAME | MANUFACTURER | PRODUCT | YEAR | ROOM | RESPONSIBLE
4264 | 3D printer | 3D Printer | MAKERBOT | Replicator 2 X | 2014 | 3038 | Liliane Abuin
3125 | 3D scanner | Xenogen 3D Imaging system/ Whole animal imaging with anesthesia system | XENOGEN | IVIS | 2005 | 3044.1 | Paul Franken
4205 | 3D scanner | 3D Growth measurement system for plants | LEMNATEC | Scanalyzer 3D | 2009 | Biophore | Olivier Michaud
4225 | Alarm system | General alarm system -80 / -140 / some -20 | SMART CADD |  | 2014 | All floors | Carlos Luzolo
2394 / 2389 / 2390 / 2391 / 2392 | Alarm system | Alarm freezer -86° C and -140° C system (4 boxes and the system) | WIT |  | 2005 | 1022.1 Freezing room 3 / 4 / 5th floor | Carlos Luzolo
1568 | Autoclave | Vertical steam sterilizer | BELIMED | LST-V 6-6-9 VSI | 2004 | 1007 Local laundry | Joan Justiniano, Iraida Villar
2219 | Autoclave | Autoclave | FEDEGARI | FVA / 3-AKLV | 2004 | 1007 Local laundry | Joan Justiniano, Iraida Villar
3720 | Autoclave | Vertical Autoclave | HMC | HG 50 Liter | 2008 | 4033 | Maykel Duarte Lopez
2834 / 2835 | Autoclave | Steam sterilizer + Rapid retro-cooling | VARIOKLAV | H / P | 2005 | 4017 | Laure Allenbach Petrolati, Martine Trevisan
1621 | Balance | Analytical balance (Up to 310g with 1 mg resolution) | SATORIUS | TE-313S-DS | 2005 | 2013 | Catherine Moret
1696 | Balance | Analytical balance (Up to 220g with 0.1 mg resolution) | SATORIUS | CP-224-S | 2004 | 3010.2 | Christiane Freymond, Liliane Abuin
1702 | Balance | Precision balance (Up to 610g with 10 mg resolution) | SATORIUS | TE-612 | 2004 | 3041
1703 | Balance | Precision balance (Up to 610g with 10 mg resolution) | SATORIUS | TE-612 | 2004 | 3005 or 3039
1728 | Balance | Precision balance (Up to 610g with 10 mg resolution) | METTLER TOLEDO | PB-602-S | 2005 | 2013 | Catherine Moret
2282 | Balance | Analytical balance (Up to 81/120g with 0.01/0.1 mg resolution) | METTLER TOLEDO | XS-205-DU | 2005 | 2022 | CIG general
2286 | Balance | Precision balance (Up to 620g with 10 mg resolution) | SATORIUS | CP-622 | 2005 | 4035 | Sebastian Soyk
3631 | Balance | Precision balance (Up to 610g with 100 mg resolution) | METTLER TOLEDO | PL-601-S | 2007 | 3010.2 | Christiane Freymond, Liliane Abuin
3997 | Balance | Analytical balance (Up to 42g with 0.01 mg resolution) | A&D INSTRUMENTS | GR-202 | 2005 | 5040 | Christiane Freymond
4074 | Balance | Precision balance (Up to 410g with 10 mg resolution) | OHAUS | AV412C | ? | 1032 | Patrick Gouait (Animalerie)
4077 | Balance | Analytical balance (Up to 120g with 0.1 mg resolution) | KERN | 770-13 | ? | 1016 | GTF
4078 | Balance | Precision balance (Up to 4000g with 10 mg resolution) | KERN | PB 4000-2 | ? | 1022.3 | GTF
4162 | Balance | MultiRange balance 15kg | METTLER TOLEDO | ID1-1904489 | 1997 | 1009 Central store | Noura Egger, Carlos Luzolo Soba
4163 | Balance | Precision balance (Up to 1200g with 10 mg resolution) | METTLER TOLEDO | ME-1002 | 2014 | 5040 | Christiane Freymond
4187 | Balance | Analytcal balance (Up to 420g with 1 mg resolution) | METTLER TOLEDO | MS403S/01 | 2014 | 5040 | Christiane Freymond
4332 | Balance | Precision balance (Up to 1200g with 10 mg resolution) | METTLER TOLEDO | ME-1002/00 | 2017 | 5033 | Mara De Matos
2285 | Balance | Precision balance (Up to 620g with 10 mg resolution) | SATORIUS | CP-622 | 2005 | 4039 | Cinzia Cinesi
3599 | Balance | Analytical balance (Up to 62g with 0.1 mg resolution) | METTLER TOLEDO | XS-64 | 2004 | 4039 | Cinzia Cinesi
4100 | Body temperature and activity recorder | Recording of body temperature and activity | DSI DATA SCIENTIFIC INTERNATIONAL | D telemetry station 8 receivers | 2005 | 1046 | Frédéric Preitner
2591 | Calorimeter | Drainage system and calorimeter chamber + 3 upgrades | COLOMBUS INSTRUMENTS | 7540-EUP | 2005 | 1028.1 | Frédéric Preitner
3685 | Calorimeter | Calorimeter (for mouse droppings) | IKA | C-200 | 2005 | 1025 | Frédéric Preitner
4188 | Cell counter | Automated cell Counter | LOGOS BIOSYSTEMS | Luna | 2014 | 5039 Cell culture | Michalik's group
4359 | Cell counter | Automated cell Counter | LOGOS BIOSYSTEMS | Luna-FL | 2018 | 5038 Cell culture | Hélène Moser
4265 | Cell counter | Benchtop imager cytometer | CHEMOMETEC | NC-250 | 2015 | 4035 | Lorène Aeschbach
4280 | Cell metabolism analyzer | Extra cellular flux analyzer | SEAHORSE | XF24 | 2012 | 5013 | Brigitte Delacuisine
1428 | Centrifuge | Refrigerated centrifuge | ALC | PK131R | 2001 | 5015 Common room | Tiziana Caputo
2185 | Centrifuge | RT centrifuge | HERAEUS | MULTIFUGE 3L | 2004 | 3047 Cell culture | Common Groups 3th
1480 | Centrifuge | Refrigerated ultracentrifuge | SORVALL | DISCOVERY 90SE | 2002 | 5015 Common room | Tiziana Caputo, Mara De Matos
1824 | Centrifuge | Refrigerated centrifuge | SORVALL | RC-6 | 2004 | 3th Corridor North East | Sonia Jimenez
1825 | Centrifuge | Refrigerated centrifuge | HERAEUS | Megafuge 1.0R | 2004 | 3th Corridor | Sonia Jimenez
1914 | Centrifuge | Refrigerated centrifuge | BECKMAN COULTER | ALLEGRA X12R | 2005 | 4th Corridor | Gustavo Ruiz Buendia
4210 | Centrifuge | Centrifuge, low speed / rotor | BECKMAN COULTER | X-15R / SX4750 | 2014 | 4th Corridor | Gustavo Ruiz Buendia
2223 | Centrifuge | Refrigerated centrifuge | HERAEUS | Megafuge 1.0R | 2005 | 3046 P2 | Jacqueline Chrast
2602 | Centrifuge | Refrigerated centrifuge | HERAEUS | Megafuge 1.0R | 2006 | 3th Corridor | Common Groups 3th
1911 | Centrifuge | Refrigerated centrifuge | BECKMAN COULTER | ALLEGRA X15R | 2005 | 4038 P2 | Philippe L'Hote
2867 | Centrifuge | Rotor for ultracentrifuge | BECKMAN COULTER | SW55Ti | 2006 | 4038 P2 | Philippe L'Hôte
3578 | Centrifuge | Refrigerated centrifuge | HERAEUS | MULTIFUGE 3 S-R | 2006 | 5th West Corridor | Wanda Dolci
3632 | Centrifuge | Centrifuge for refrigerated microplate | HERMLE | Z383 | 2002 | 3015 East corridor | Sonia Jimenez
3887 | Centrifuge | Refrigerated centrifuge | HEROLAB | Hicen 21 | 2010 | 5015 Common room | Tiziana Caputo
4191 | Centrifuge | Refrigerated centrifuge | EPPENDORF | 5810R | 2014 | 5012 | Michalik's group
2868 | Centrifuge | Refrigerated ultracentrifuge | BECKMAN COULTER | Optima L90 Biosafe | 2006 | 4038 P2 | Philippe L'Hôte
2869 | Centrifuge | Rotor for ultracentrifuge | BECKMAN COULTER | SW-40Ti | 2006 | 4038 P2 | Philippe L'Hôte
4218 | Centrifuge | Refrigerated centrifuge and rotors | EPPENDORF | 5810R | 2014 | 5th West Corridor | Wanda Dolci
4281 | Centrifuge | Refrigerated centrifuge | EPPENDORF | 5424R | 2016 | 5013 | Brigitte Delacuisine
3154 | Centrifuge | Rotor for ultracentrifuge | BECKMAN COULTER | SW32TI | 2006 | 4038 P2 | Philippe L'Hôte
| Centrifuge | Various rotor 5th | SORVALL
1913 | Centrifuge | Refrigerated centrifuge | BECKMAN COULTER | ALLEGRA X12R | 2005 | 4037 Cell culture | Philippe L'Hôte
2134 | Centrifuge | High speed centrifuge and elutriation | BECKMAN COULTER | Avanti J-20XP | 2004 | 4020 Common room | Michaël Wiederkehr
2135 | Centrifuge | Table ultracentrifuge | BECKMAN COULTER | Optima Max-E | 2004 | 4020 Common room | Anne-Sophie Fiorucci / Laure Allenbach
2136 | Centrifuge | Refrigerated ultracentrifuge | BECKMAN COULTER | Optima LE-80K | 2004 | 4020 Common room | Anne-Sophie Fiorucci / Laure Allenbach
2225 | Centrifuge | 5 rotors ( no labels ! ) | BECKMAN COULTER | 45TI / 70.1TI / TLA-55 / JLA-8.1000/ SW28 | 2004 | 4020 Common room | Common Groups 4th
4216 | Centrifuge | Refrigerated centrifuge (second hand) | SORVALL | RC5C | 2015 | 4020 Common room | Michaël Wiederkehr
1289 | Centrifuge | Cell centrifuge | SHANDON | CYTOSPIN 2 | 1997 | 4035 | Lorène Aeschbach
| Centrifuge | Various rotor 4th | BECKMAN COULTER |  | 2005 | 4020 Common room
2137 | Chromatography | Purifier 10 AKTA / Chromatograph | AMERSHAM BIOSCIENCES | AKTA FRAC-950 | 2004 | 3025 | Pascal Cousin
4288 | Chromatography | Chamber 4 ° for chromatography | REVCO | REC4504V20 |  | 3025 | Pascal Cousin
2388 / 2399 / 2400/1/2/3/4/5/6 / 2508/9 / 3356 | Chromatography | HPLC and accessories | AGILENT TECHNOLOGIES |  | 2005 / 2006 | 2022 CIG commun | CIG General
4286 / 4287 | Chromatography | HPLC separation module / HPLC absorbance | ALLIANCE HT / WATERS | 2795 / 2487 | 2006 | 2022 Fajas | Brigitte Delacuisine
2820 | Circulating bath | NOT FOUND ! Thermostatic regulator / circulating thermostat for 2D electrophoresis | AMERSHAM BIOSCIENCES | MultiTemp III | 2005 | ??? | ???
4161 | Circulating bath | Thermostatic refrigeration bath + Digital one (hot part) | NESLAB | RTE7 | 2004 | 4019 | Common Groups 4th
4229 | Clinical chemistry analyzer | Robot serum / Blood / Urine analyzes | ROCHE | Cobas C 111 | 2014 | 2022 | Gilles Willemin
2038 | CO2 analyzer | CO2 analyzer | RS BIOTECH | Galaxy 010-100 | 2005 | 4037 Cell culture | Philippe L'Hôte
3877 | Cold trap | CentriVap Cold Trap | LABCONCO | Trap Temperature | 2010 | 4020 Common room | Maykel Duarte Lopez
2283 | Concentrator | Concentrator / speedvac | EPPENDORF | 5301 | 2005 | 5015.1 Common room | Michaël Baruchet
1974 | Concentrator | Vacum centrifuge | UNIVAPO | 100ech | 2004 | 4020 Common room | Maykel Duarte Lopez
2419 | Conductimeter | Conductimeter | JENWAY | 4510 | 2005 | 4039 Common room | Cinzia Cinesi
1514 | Conveyor belt | Travolator | DAYTON | For 4 mice | 2003 | 1046 | Frédéric Preitner
4089 | Conveyor belt | Conveyor belt | DAYTON | For 4 mice | 2003 | 1046 | Frédéric Preitner
1595 | Coverslipper | Film collector | SAKURA | Tissue-Tek SCA | 2005 | 2013 Histology | Catherine Moret
2222 | Coverslipper | Slide slicer / blade preparation machine | LEICA | CV 5030 | 2005 | 2013 Histology | Catherine Moret
4270 | Crusher | Laboratory crusher | POLYMIX | PX-MFC 90 D | 2015 | 5030 | Guy Niederhäuser
1424 | Cryostat / Microtome | Rotating microtome | MICROM | HM 325 | 2001 | 2013 Histology | Catherine Moret
1534 | Cryostat / Microtome | Rotating microtome | MICROM | HM 325 | 2004 | 2013 Histology | Catherine Moret
1535 | Cryostat / Microtome | Cryostat II | MICROM | HM 550 | 2004 | 2013 Histology | Catherine Moret
3897 | Cryostat / Microtome | Vibratome | LEICA | VT 1000S | 2011 | 5003 | Gwenaël Labouebe
4296 | Cryostat / Microtome | Cryostat | THERMOSCIENTIFIC | CryoStar NX50 | 2016 | 2013 Histology | Catherine Moret
3564 | Cryostat / Microtome | Slide microtome and quick freezing device | MICROM | HM 450 / K400 / KS34 | 2006 | 4033 | Catherine Moret
4258 | Cytometer flow | Detection and quantification of biochemical reactions | BIO-RAD | Luminex 200-SD | 2014 | 2022 | Gilles Willemin
4259 | Cytometer flow | Cytometer flow | BECTON DICKINSON ACCURI | FlowCytometer C6 | 2015 | 4035 | Lorène Aeschbach
3908 | Distiller | Bidistiller | HERAEUS | Destamat | 1995 ? | 2022.2 Stasiak | Andrzej Stasiak
3895 | DNA/RNA extractor | Extraction ARN | APPLIED BIOSYSTEM | Magmax | 2010 | 5037 | Desvergne Group
2601 | DNA/RNA/Protein extractor | RNA and protein extractor / Maxwell (TM) | MAXWELL | 16 | 2006 | 3023 Common room | Jacqueline Chrast
4306 | Drill | Drill and micromotor | FORDOM | K1070 | 2016 | 1047 | Sophie Croisier
4047 | Drosophila breeding | Anti-vibration table ( part of comportment drosophile study ) | TMC RENENS |  | 20136 | 3010.1 | Giovanna Zappia, Thomas Auer
4065 | Drosophila breeding | Box for FBI behavior (fluorescent beahaviour investigation) and anti-vibration table |  |  | 2013 | 3010.1 | Giovanna Zappia, Thomas Auer
4066 | Drosophila breeding | Box for FBI behavior (fluorescent beahaviour investigation) and anti-vibration table |  |  | 2013 | 3010.1 | Giovanna Zappia, Thomas Auer
4067 | Drosophila breeding | Box for FBI behavior (fluorescent beahaviour investigation) and anti-vibration table |  |  | 2013 | 3010.1 | Giovanna Zappia, Thomas Auer
1766 | Electrophoresis | Gel dryer | BIO-RAD | 3545D | 2004 | 3023 Common room | Common Groups 3th
3894 | Electrophoresis | Western processing station | INVITROGEN | Bench pro 4100 | 2010 | 5016.2 Common room | ???
3915 | Electrophoresis | DNA and RNA fragment analyzer | QIAGEN | QIAxcel | 2010 | 2013 Genotyping | Fabienne Lammers, Katharina Hausherr
4025 | Electrophoresis | Electrophresis base + power source | INVITROGEN | Mother E-Base | 2006 | 2013 Genotyping | Fabienne Lammers, Katharina Hausherr
4026 | Electrophoresis | Electrophresis base + power source | INVITROGEN | Mother E-Base | 2006 | 2013 Genotyping | Fabienne Lammers, Katharina Hausherr
4324 | Electrophoresis | Western processing station | INVITROGEN | iBlot 2 | 2017 | 5033 | Angelica Liechti
2330 | Electrophoresis | Protean IEF cell | BIO-RAD | IEF Cell | 2005 | 4013 | Hernandez Group
2871 | Electroporation / Transfection | Nucleofactor / Electroporator | AMAXA BIOSYSTEM | AAD-1001S | 2006 | 5039 Cell culture | Wanda Dolci
2841 / 2845 | Electroporation / Transfection | Particle delevery system / Gene Gun | BIO-RAD | PDS-1000/He Biolictic | 2005 | 2022 CIG commun | Laure Allenbach Petrolati
2360 | Electroporation / Transfection | Electroporator | BIO-RAD | Gene pulser xcell | 2005 | 4036 Common room | Maykel Duarte Lopez
2361 | Electroporation / Transfection | Electroporator | BIO-RAD | Micropulser | 2005 | 4033 | Martine Trevisan
2044 | FACS | Flow Cytometer FACS | BECKON DICKINSON | BD LSR II | 2005 | 2022 CIG commun | CIG General
4101 | Feeding monitor | Computerized feeding monitor + 1 upgrade food / water intake measurement | DIETS RESEARCH | BioDaq USA | 2005/11 | 1047 | Frédéric Preitner
4299 | Feeding monitor | Feeding monitoring system for mice | TSE | PhenoMaster for 24 Mice | 2016 | 1046 | Frédéric Preitner
4195 | Freezer / Fridge | Freezer -86 ° C | SNIJDERS | VF720-86E | 2014 | 4th West Corridor | Lorène Aeschbach, Justine Pascual
4253 | Freezer / Fridge | Freezer -86 ° C | SNIJDERS | VF720-86E | 2015 | 4th West Corridor | Herr Group
4217 | Freezer / Fridge | Freezer -86 ° C | SNIJDERS | VF720-86E | 2015 | 4th East Corridor | Laure Allenbach Petrolati, Martine Trevisan
4292 | Freezer / Fridge | Freezer -86 ° C | REVCO | REVSTSX600V | 2016 | 4th East Corridor | ???
4358 | Freezer / Fridge | Freezer -86 ° C | ARCTIK | ULUF 750-2M / 680L | 2018 | 4th East Corridor | Maykel Duarte Lopez
1589 | Freezer / Fridge | Freezer -140°C | REVCO | ULT10140-9-M | 2005 | 1022.1 Freezing room | Frédéric Preitner, Carlos Luzolo
1593 | Freezer / Fridge | Freezer -86°C | REVCO | ULT2586-9-V | 2005 | 1022.1 Freezing room | Carlos Luzolo
1594 | Freezer / Fridge | Freezer -86°C | REVCO | ULT2586-9-V | 2005 | 1022.1 Freezing room | Carlos Luzolo
3575 | Freezer / Fridge | Freezer -86 ° C | NEW BRUNSWICK SCIENTIFIC | C660 | 2006 | 5th Corridor | Frédéric Preitner, Salima Metref,Carlos Luzolo
3678 | Freezer / Fridge | Freezer -86 ° C | NEW BRUNSWICK SCIENTIFIC | C660-86 | 2005 | 1022.1 Freezing room | Carlos Luzolo
3898 | Freezer / Fridge | Freezer -86 ° C | THERMOSCIENTIFIC | Herafreeze Top | 2010 | 1022.1 Freezing room | Desvergne, Michalik Groups
3901 | Freezer / Fridge | Freezer -86 ° C | THERMOSCIENTIFIC | Herafreeze Top | 2010 | 5th Corridor | Groupes Desvergne, Michalik, Carlos Luzolo
4022 | Freezer / Fridge | Freezer -86 ° C | ALS ANGELATONI LIFE SCIENCE | IRLAB 800 V-3-STD-ES | 2012 | 3010 Common room | Yann Emmenegger
4033 | Freezer / Fridge | Freezer -86 ° C | FRYKA | TUS-80-100 | 2013 | 2022 Stasiak | Andrzej Stasiak
4075 | Freezer / Fridge | Freezer -86 ° C | REVCO | UXF60086-F | 2012 | 1022.1 Freezing room | Desvergne, Michalik Groups
4076 | Freezer / Fridge | Freezer -86 ° C | REVCO | UXF60086-F | 2012 | 1022.1 Freezing room | Carlos Luzolo
4192 | Freezer / Fridge | Freezer -86 ° C | SNIJDERS | VF720-86E | 2014 | 3010 Common room | Carlos Luzolo
4214 | Freezer / Fridge | Freezer -86 ° C | SNIJDERS | VF720-86E | 2014 | 5th East Corridor | Carlos Luzolo
4226 | Freezer / Fridge | Freezer -140°C | REVCO | ULT10140-9-M | 2014 | 1022.1 Freezing room | Carlos Luzolo
4236 | Freezer / Fridge | Freezer -86 ° C | SNIJDERS | VF720-86E | 2013 | 1022.1 Freezing room | Fajas Group, Carlos Luzolo
4252 | Freezer / Fridge | Freezer -86 ° C | SNIJDERS | VF720-86E | 2015 | 3010 Common room | Fajas Group, Carlos Luzolo
4269 | Freezer / Fridge | Freezer -140°C | REVCO | ULT10140-9M | 2015 | 1022.1 Freezing room | Carlos Luzolo
4293 | Freezer / Fridge | Freezer -86 ° C | REVCO | REVSTSX600V | 2016 | 3010 Common room | ???
4325 | Freezer / Fridge | Freezer -86 ° C | THERMOSCIENTIFIC REVCO | TSX with-V-Drive | 2017 | 5th West Corridor | Mara De Matos
4331 | Freezer / Fridge | Refrigerator -20° special | KOCHKALTE | G700 LUE - 700L | 2017 | 5th East Corridor | Mara De Matos
4337 | Freezer / Fridge | Freezer -86 ° C | EPPENDORF | Cryocube F740hiw ULT | 2017 | 3010 Common room | Yann Emmenegger
4347 | Freezer / Fridge | Freezer -86 ° C | EPPENDORF | Cryocube F740hiw ULT | 2018 | 1022.1 Freezing room | Carlos Luzolo
3881 | Gradient maker | Glycerol gradient maker | BIOCOMP | Gradient Master IP | 2004 | 4020 Common room | Daria Gudkova / Maykel Lopes
3570 | Heating cabinet for perifusion | Heating cabinet for perifusion | FARMACIA BIOTECHNOLOGY | Climas | 2006 | 5015.1 Common room | Wanda Dolci
2039 | Hood | Vertical laminar flow hood | BIOAIR | Safe flow 1.2 | 2005 | 4038 P2 | Philippe L'Hôte
2040 | Hood | Vertical laminar flow hood | BIOAIR | Safe flow 1.2 | 2005 | 4038 P2 | Philippe L'Hôte
3609 | Hood | Vertical laminar flow hood | BIOAIR | Aura vertical SD4 | 2005 | 4037 Cell culture | Philippe L'Hôte
3611 | Hood | Vertical laminar flow hood | BIOAIR | Aura vertical SD4 | 2005 | 4037 Cell culture | Philippe L'Hôte
4289 | Hood | Vertical laminar flow hood | EUROCLONE | Safemate Eco 1.2 Solid W/S | 2016 | 4037 Cell culture | Philippe L'Hôte
4290 | Hood | Vertical laminar flow hood | EUROCLONE | Safemate Eco 1.2 Solid W/S | 2016 | 4037 Cell culture | Philippe L'Hôte
1130 | Hood | Vertical laminar flow hood | SKAN | VSA-180 | 1996 | 457 Amphipôle | CIG, Biology School
1559 | Hood | Horizontal laminar flow hood | HERAEUS | HPH-12 | 2005 | 5038 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
1563 | Hood | Vertical laminar flow hood | KENDRO | Herasafe KS-12 | 2005 | 5039 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
1564 | Hood | Vertical laminar flow hood | KENDRO | Herasafe KS-12 | 2005 | 5039 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
1566 | Hood | Vertical laminar flow hood | KENDRO | Herasafe KS-12 | 2005 | 5039 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
1567 | Hood | Vertical laminar flow hood | KENDRO | Herasafe KS-12 | 2005 | 5038 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
1613 | Hood | Vertical laminar flow hood | FASTER | Bio48 | 2005 | 5038 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
1614 | Hood | Vertical laminar flow hood | FASTER | Bio48 | 2005 | 457 Amphipôle | CIG, Ecole de biologie
1615 | Hood | Vertical laminar flow hood | FASTER | Bio48 | 2005 | 3047 Cell culture | Jacqueline Chrast
1827 | Hood | Vertical laminar flow hood | KENDRO | Herasafe KS-12 | 2004 | 3046 P2 | Jacqueline Chrast
1828 | Hood | Vertical laminar flow hood | KENDRO | Herasafe KS-12 | 2004 | 3046 P2 | Jacqueline Chrast
3641 | Hood | Vertical laminar flow hood | FASTER | CYTOSAFE-N 2003 | 2006 | 3047 Cell culture | Jacqueline Chrast
3885 | Hood | Vertical laminar flow hood | FASTER | Ultrasafe 209S | 2009 | 5038 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
3886 | Hood | Glove box | RUSKINN | Invivo 200 | 2010 | 3047 Cell culture | Carine Winkler
2353 | Hood | Vertical laminar flow hood | BIOAIR | Top Safe 1.5 | 2005 | 4036 Common room | Laure Allenbach Petrolati, Martine Trevisan
4300 | Hood | Vertical laminar flow hood | HERASAFE | Herasafe KS-12 | 2016 | 1047 | Gwenaël Labouebe
2355 / 2358 | Hood | Laminar flow hood mini + UV light | BIOAIR | AURA MINI | 2005 | 5035 | Mara de Matos
2354 | Hood | Vertical laminar flow hood | BIOAIR | Top Safe 1.5 | 2005 | 4036 Common room | Laure Allenbach Petrolati, Martine Trevisan
2356 / 2357 | Hood | Laminar flow hood mini + UV light | BIOAIR | AURA MINI | 2005 | 4036 Common room | Philippe L'Hôte
4244 | Humidifier | Steam humidifier | DEFENSOR | Mk5 | 2014 | 3010.2 | Benton Group
4338 | Humidifier | Humidifier | CONDAIR | CP3-Mini PR 4 230 V1 K | 2018 | 3023.1 | Pascal Cousin
4245 | Hybridation system | Hybridation system | LABGENE | TDH-500 | 2014 | 3039 | Giuliana Giannuzzi
850 | Hybridization oven | Hybridization oven | ROBBINS SCIENTIFIC | 310 | 92 | 5016.1 Common room | Frédéric Preitner, David Gatfield
1705 | Ice machine | Ice machine | KIBERNETIK | Micro cube ice | 2004 | 3010 Common room | Pascal Cousin
4308 | Ice machine | Ice machine | EVERMED | FIM 95 S | 2017 | 5040 Common room | Christiane Freymond
2235 | Ice machine | Ice machine | BREMA | FO-GB1555 | 2011 | 4020 Common room | Andreia Lopes
1489 | Image analyser/developer | Image developer | KONICA | SRX-101 | 2003 | 5040 Common room | Violeta Castelo Szekely, Gwenaël Labouebe
1629 | Image analyser/developer | UV light system with printer | SYNGENE | Gene flash | 2005 | 2013 Genotyping | Fabienne Lammers, Katharina Hausherr
1767 | Image analyser/developer | UV light system with printer | SYNGENE | Gene flash | 2004 | 3025 Common room | Giovanna Zappia
3904 | Image analyser/developer | UV light system with printer | BIO-RAD | Universal Hood II | 1995 ? | 2022.3 Stasiak | Andrzej Stasiak
4035 | Image analyser/developer | Chemiluminescence Imager Fusion FX | WITEC AG | FX7-820 WL/WL Table | 2012 | 5003.1 Common room | Dassine Berdous
4087 | Image analyser/developer | UV light system with printer | UVP | BioDoc-It 220 | 2013 | 5016 Common room | Sophie Croisier
1822 / 2386 / 3402 | Image analyser/developer | Typhoon Trio + Phosphorescent screen + Computer | THYPHOON | Variable mode imager | 2004 | 2022 CIG commun | CIG General
4312 | Image analyser/developer | UV light system with printer | U:GENIUS / SYNGENE / MITSUBISHI | 3 / Transilluminator / P95 | 2017 | 4039 | Betül Unlü, Oscar Rodriguez
3916 | Immunohistochemistry autostainers | PT module for immunohistochemical staining | THERMOSCIENTIFIC | PT module | 2011 | 2013 Histology | Catherine Moret
2041 | Incubator | Incubator (insect cell) | ING CLIMAS | 350L | 2005 | 4th Corridor | Philippe L'Hôte
3601 | Incubator | Heating cabinet | SHEL LAB | RI28-2-1 / +5° to 70° | 2006 | 4th Corridor | Philippe L'Hôte
3602 | Incubator | Heating cabinet | SHEL LAB | RI28-2-1 / +5° to 70° | 2006 | 4th Corridor | Philippe L'Hôte
2034 | Incubator | CO2 incubator | RS BIOTECH | Galaxy Plus 170lts | 2005 | 4038 P2 | Philippe L'Hôte
2035 | Incubator | CO2 incubator | RS BIOTECH | Galaxy Plus 170lts | 2005 | 4038 P2 | Philippe L'Hôte
2036 | Incubator | CO2 incubator | RS BIOTECH | Galaxy Plus 170lts | 2005 | 4038 P2 | Philippe L'Hôte
2037 | Incubator | CO2 incubator | RS BIOTECH | Galaxy Plus 170lts | 2005 | 4038 P2 | Philippe L'Hôte
2028 | Incubator | CO2 incubator | RS BIOTECH | Galaxy Plus 170lts | 2005 | 4037 Cell culture | Philippe L'Hôte
2029 | Incubator | CO2 incubator | RS BIOTECH | Galaxy Plus 170lts | 2005 | 4037 Cell culture | Philippe L'Hôte
2030 | Incubator | CO2 incubator | RS BIOTECH | Galaxy Plus 170lts | 2005 | 4037 Cell culture | Philippe L'Hôte
2031 | Incubator | CO2 incubator | RS BIOTECH | Galaxy Plus 170lts | 2005 | 4037 Cell culture | Philippe L'Hôte
2032 | Incubator | CO2 incubator | RS BIOTECH | Galaxy Plus 170lts | 2005 | 4037 Cell culture | Philippe L'Hôte
2033 | Incubator | CO2 incubator | RS BIOTECH | Galaxy Plus 170lts | 2005 | 4037 Cell culture | Philippe L'Hôte
831 | Incubator | Incubator | KUHNER | 1SF-4-V Clim-O-Shake | 1990 | 5th Corridor | Xavier Berney
1469 | Incubator | Incubator CO2 | KENDRO | HERA cell 150 | 2002 | 5039 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
1561 | Incubator | Bacteries incubator | KENDRO | B 6120 | 2005 | 5037 | Desvergne Group
1687 | Incubator | Refrigerated incubator | BINDER | Kb 115 | 2004 | 3047 Cell culture | Jacqueline Chrast
1693 | Incubator | CO2 incubator | BINDER | CB150 | 2004 | 3046 P2 | Jacqueline Chrast
1695 | Incubator | CO2 incubator | BINDER | CB210 | 2004 | 3046 P2 | Jacqueline Chrast
1763 | Incubator | Echotherm mini incubator | ETORREY PINES SCIENTIFIC | IN20 | 2004 | 3010.2 Common room | Common Groups 3th
1794 | Incubator | Incubator for flies | BINDER | Binder kb115 | 2004 | 3th West Corridor | Benton Group
2128 | Incubator | Bacteries incubator | HERAEUS | B20 | 2004 | 4020 Common room | Yetkin Ince
2129 | Incubator | Bacteries incubator | HERAEUS | B20 | 2004 | 4020 Common room | Yetkin Ince
2612 | Incubator | Refrigerated incubator | BINDER | KB 115 | 2004 | 3th Corridor North | Common Groups 3th
2896 | Incubator | Chilling incubator | TORREY PINES SCIENTIFIC | IN30-2 | 2005 | 2013 Histology | Catherine Moret
3127 | Incubator | Incubator with agitator | INFORS | Unitron | 2005 | 5th Corridor | Common Groups 5th
3508 | Incubator | Incubator with agitator | BIOER | HB202 | 2009 | 2013 Genotyping | Fabienne Lammers, Katharina Hausherr
3527 | Incubator | Incubator for flies | RUMED RUBARTH | 3501 | 2007 | 3th Corridor | Liliane Abuin
3616 | Incubator | Incubators with 3-stage agitator | INFORS HT | Unitron Plus | 2006 | 4020 Common room | Olivier Michaud
3574 | Incubator | Refrigerated incubator | MEMMERT | UFE500 | 2006 | 5040.2 Common room | Thorens Group
3579 | Incubator | CO2 incubator | HERAEUS | HERA cell 150 | 2005 ? | 5039 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
3580 | Incubator | CO2 incubator | HERAEUS | HERA cell 150 | 2005 ? | 5039 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
3581 | Incubator | CO2 incubator | HERAEUS | HERA cell 150 | 2005 ? | 5039 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
3582 | Incubator | CO2 incubator | HERAEUS | HERA cell 150 | 2005 ? | 5039 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
3583 | Incubator | CO2 incubator | HERAEUS | HERA cell 150 | 2005 ? | 5039 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
3590 | Incubator | CO2 incubator | HERAEUS | HERA cell 150 | 2005 ? | 5038 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
3591 | Incubator | CO2 incubator | HERAEUS | HERA Cell 150 | 2005 ? | 5038 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
3592 | Incubator | CO2 incubator | HERAEUS | HERA cell 150 | 2005 ? | 5038 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
3593 | Incubator | CO2 incubator | HERAEUS | HERA cell 150 | 2005 ? | 5038 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
3640 | Incubator | Incubator for flies | RUBARTH APPARATE | 3501 | 2006 | 3th Corridor | Liliane Abuin, Richard Benton
3644 | Incubator | CO2 incubator | SANYO | INCU safe / MCO-15AC | 2006 | 3047 Cell culture | Jacqueline Chrast
3645 | Incubator | CO2 incubator | SANYO | MCO-18AIC | 2012 | 3046 P2 | Jacqueline Chrast
3876 | Incubator | Incubators with 3-stage agitator | HT INFORS | Multitron II | 2010 | 3th Corridor | Yann Emmenegger
3990 | Incubator | CO2 incubator | SANYO | SGMCO-19ICUVH | 2010 | 5039 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
3991 | Incubator | CO2 incubator | SANYO | SGMCO-19ICUUV | 2010 | 5039 Cell culture | Carine Winkler, Wanda Dolci, Thanh Nguyen, Mara de Matos, Brigitte Delacuisine
4019 | Incubator | Incubator for flies | RUMED RUBARTH | 3501 | 2007 | 3th West Corridor | Liliane Abuin
4020 | Incubator | Incubator for flies | RUMED RUBARTH | 3501 | 2013 | 3th West Corridor | Liliane Abuin
4021 | Incubator | Incubator for flies | RUMED RUBARTH | 3501 | 2013 | 3th West Corridor | Liliane Abuin
4023 | Incubator | CO2 incubator | SANYO | MCO-19AICUV | 2012 | 3047 Cell culture | Jacqueline Chrast
4063 | Incubator | Incubator for flies | RUMED RUBARTH | 3501 | 2013 | 3th West Corridor | Liliane Abuin
4073 | Incubator | Incubator with agitator | STUART | SI500 | 2011 | 5016 | Common Groups 5th
4168 | Incubator | CO2 incubator | BINDER | CB150 | 2013 | 3046 P2 | Jacqueline Chrast
4200 | Incubator | Refrigerated incubator | RUBARTH APPARATE | 3501XL | 2014 | 5th East Corridor | Justine Pascual
4238 | Incubator | Incubator for flies | RUMED RUBARTH | 3501 | 2015 | 3th West Corridor | Liliane Abuin
4275 | Incubator | Incubator with hybridization system | ACD ADVANCED CELL DIAGNOSTICS | HybEZ | 2015 | 5029 | David Tarussio
4340 | Incubator | Incubator for flies | RUMED RUBARTH | 530-P | 2018 | 3th East Corridor | Pascal Cousin
4341 | Incubator | Incubator for flies | RUMED RUBARTH | 530-P | 2018 | 3th East Corridor | Pascal Cousin
3546 | Incubator | Refrigerated incubator | BINDER | BD 115 | 2006 | 4035 | Vincent Dion
4328 | Incubator | Incubator mini | BENCHMARK | My Temp Mini Digital | 2017 | 4016 | Laure Allenbach Petrolati, Martine Trevisan
2143 | Incubator | Refrigerated incubator | BINDER | KB115 | 2004 | 4014 | Common Groups 4th
1206 | Luminometer | Luminometer | BERTHOLD | LUMAT LB9501 | 95 | 5015.1 Common room | Michaël Baruchet
4310 | Luminometer | Lumicycler | ACTIMETRICS | 32 Channel | 2002 | 3047 Cell culture ( in incubator ) | David Gatfield
4311 | Luminometer | Lumicycler | ACTIMETRICS | 32 Channel | 2010 | 5039 Cell culture (in incubator ) | David Gatfield
4327 | Luminometer | 3 Light Meters | SKYE PAR / OCEAN OPTICS / INTER.LIGHT | Normal / Spectral USB 2000+ / IL1400A with filter | 2000-2017 | 4016 | Laure Allenbach Petrolati, Martine Trevisan
3932 | Luminometer | Luminescent Image analyser | GE HEALTHCARE | LAS 4000 mini | 2011 | 4014 | Laure Allenbach Petrolati, Martine Trevisan
1596 | Manutention | Electric pallet truck | MAPO | ESW1000 | 2005 | 1022 | CIG General
4285 | Microarrays reader | Protein and nucleic analysis apparatus | PANGENE | PamStation 12 | 2016 | 2022 Fajas | Brigitte Delacuisine
1669 | Microdialysis | Mcrodialysis temperature controller | SOMA MEDICAL | CMA 150 | 2005 | 1029 Local sleep | Yann Emmenegger
1670 | Microdialysis | Mcrodialysis temperature controller | MICRODIALYSIS | CMA 150 | 2005 | 1025 | Frédéric Preitner
1672 | Microdialysis | Mcrodialysis temperature controller | SOMA MEDICAL | CMA 150 | 2005 | 1046 | Frédéric Preitner
671 | Microinjection | Microinjection needle shaper | NARISHIGE | PN-3 | 85 | 3037 | Gwenaël Labouebe
1202 | Microinjection | Microinjection device ( for ovocyte ) | INJECT / MATIC |  | 1985 | 1004 Xenops | Benoîte Bargeton
3557 | Microinjection | Microinjection needle shaper | SUTTER INSTRUMENTS | P-97 | 2006 | 5032 | Gwenaël Labouebe
4041 | Microinjection | Micromanipulator ( Microcontroller / 2 controllers multi-manipulator / translator / platform ) | SUTTER INSTRUMENTS | ROE-200 / MPC-200 / MT-800Y51-M / MT-78-FS | 2010 | 5003 | Gwenaël Labouebe
4345 | Microinjection | Micro injector | EPPENDORF | FemtoJet | 2018 | 3008 | Pascal Cousin
4304 | Micropump | Ultra micro pump and accessories | WPI | UMP3-1 | 2016 | 1047 | Sophie Croisier
3214 | Microscopy | NOT FOUND ! Inverted microscope + stand | ZEISS | 40 CLF / 451211 | 2005 | 4th ??? | ???
2019 | Microscopy | Inverted microscope | ZEISS | Axiovert 40CFL | 2005 | 4038 P2 | Philippe L'Hôte
4009 | Microscopy | Inverted microscope with cameras | LEICA | DMIRBHC Fluo / DC350FX / DFC3000 G | 2003 | 4038 P2 | Philippe L'Hôte
4297 | Microscopy | Digital macroscope and accessories | LEICA | DMS1000 | 2016 | 4038 P2 | Philippe L'Hôte
3612 | Microscopy | Inverted microscope | ZEISS | Axiovert 40CFL | 2006 | 4037 Cell culture | Philippe L'Hôte
4232 | Microscopy | Microscope without eyepieces, with screen | LIFE TECHNOLOGIES | EVOS FL | 2014 | 4037 Cell culture | Philippe L'Hôte
3598 | Microscopy | Binocular magnifier with fluorescence and camera | NIKON | SMZ1500 | 2006 | 4003.1 Common room | Martina Legris
1639 | Microscopy | Microscope | LEICA | MZ6 | 2005 | 5010 | Desvergne Group
1910 | Microscopy | Microscope | ZEISS | 40CFL-AXIOVERT | 2005 | 3046 P2 | Jacqueline Chrast
3628 | Microscopy | Straight fluorescence microscope with camera | LEICA | DM 6000 B / DFC 350 FXR2 | 2005 | 4003.1 Common room | Martina Legris
2528 | Microscopy | Binocular magnifier with fluorescence | LEICA | MZ 16 F7 | 2005 | 2013.4 Histology tent | Liliane Michalik
2702 | Microscopy | Microscope scanner / Gene paint (two transmitted lights + camera) | LEICA | DM RXA / HV-D 20P | 2006 | 2013.5 Histology tent | CIG General
3152 | Microscopy | Digital microscope "Coolscope" | NIKON | MBA88000 | 2005 | 5003.2 Common room | David Tarussio
3178 | Microscopy | Microscope with stand with fluorescence | ZEISS | Axio Imager.D1 | 2005 | 2013.5 Histology tent | Catherine Moret
3266 | Microscopy | Stereo microscope | LEICA | MZ6 | 2007 | 2013 Histology | ???
3554 | Microscopy | Motorized microscope with UV, fluorescence and transmitted light | NIKON | Eclipse 90-I | 2006 | 2013.5 Histology tent | ???
3576 | Microscopy | Right microscope for vision for 2 people + digital camera | LEICA | DM1000 / DFC 295 | 2006 | 5022 Common room | David Tarussio
3587 | Microscopy | Inverted microscope | ZEISS | Axiovert 25 | 2006 | 5039 Cell culture | Xavier Berney
3635 | Microscopy | Microscope for electrophysiology and data acquisition | NIKON | FN-PT Eclipse FN1 ( FN-S2N ) | 2006 | 3038 | Liliane Abuin ?
3649 | Microscopy | Binocular magnifier with fluorescence | LEICA | MZFL III | 2006 | 2013.3 Histology tent | ???
3650 | Microscopy | Binocular magnifier with camera | LEICA | MZ95 | 2006 | 2013.3 Histology tent | ???
3684 | Microscopy | 3 binocular loupes 2 for 2 people | LEICA | MZ75 / M 60 | 2005 | 1025 | Frédéric Preitner
3896 | Microscopy | Right microscope | OLYMPUS | BX51WI | 2010 | 5003 | Gwenaël Labouebe
4038 | Microscopy | Camera | PHOTOMETRICS | Evolve 512 | 2010 | 5003 | Gwenaël Labouebe
4048 | Microscopy | Camera + lens + PC | PCO EDGE | SCNOS | 2013 | 3010.1 | Giovanna Zappia, Thomas Auer
4128 | Microscopy | Microscope and 5 lens | ZEISS | Axio Examiner D1 | 2013 | 2013.2 Histology tent | ???
4130 | Microscopy | Microscope and data acquisition | NIKON | Eclipse FN1 | 2013 | 3038 | Richard Benton
4182 | Microscopy | Inverted fluorescent microscope | LEICA | DMI4000B | 2007 | DMF | Benton Group (Sophie Martin DMF )
4183 | Microscopy | Dissection microscope | SINGER INSTRUMENTS | MSM System Series 300 | 2007 | DMF | Benton Group (Sophie Martin DMF )
4221 | Microscopy | Stereo microscope with complete equipment | LEICA | M125 | 2014 | 5009 | Justine Pascual
4222 | Microscopy | Stereo microscope with complete equipment | LEICA | M125 | 2014 | 5009 | Justine Pascual
4237 | Microscopy | Dual eyepiece microscope | NIKON | SMZ800 | 2010 | 3038 | Liliane Abuin
4260 | Microscopy | Microscope | NIKON | SMZ1000 | 2010± | 3038 | Liliane Abuin
4301 | Microscopy | Digital macroscope | LEICA | DMS300 | 2016 | 1047 | Sophie Croisier
4319 | Microscopy | Microscope / Arm / Optical Fiber | OLYMPUS | SZ51 / SZ2-STB1 / SZ2-STU1 | 2010 | 1029 Local sleep | Yann Emmenegger
4323 | Microscopy | Microscope and equipments | LEICA | M60 | 2012 | 5012 ( in cabinet ) | Michalik group
4350 | Microscopy | Microscope with screen TFT and 5 lens | ZEISS | Axio Imager M2 | 2018 | 2013.3 Histology tent | Sophie Croisier
1464 / 1465 / 1468 / 2531 / 2530 | Microscopy | Inverted microscope + Lihthing + Mounting frame + 2 Cameras | ZEISS | AXIOVERT 200 | 2002 / 2013 | 5039 Cell culture | David Tarussio
1536 / 1537 | Microscopy | Binocular magnifier for 2 persons (support and 2 eyepieces) | LEICA | DMLS2-platine 99 | 2004 | 2013 Histology | Catherine Moret
1538 / 2515 / 2516 / 3123 | Microscopy | Inverted trinocular microscope / Trinocular tube / Camera / Statif | LEICA | DMIL HC Bio | 2004 | 5038 Cell culture | David Tarussio, Xavier Berney
2522 / 2523 / 2524 2525 / 2533 / 4345 | Microscopy | Inverted microscope with thermostat, time-labs / PC / Image acquisition system / Microscope temperature control cage / Lighting control unit / microinjector | LEICA / LIFE IMAGNING SERVICES | DMI6000B / PC / DFC350FX R2 / The Cube+ Box / CTR6500 / FemtoJet 4i | 2005 | 3008 | Maria-Cristina Gambetta, Pascal Cousin
2526 / 2527 / 2534 | Microscopy | Inverted microscope with micro injector / Anti-vibration table / Control unit / | LEICA-EPPENDORF / TMC / LEICA-EPPENDORF | AM6000-DMI6000B / TMC63-542 / CTR 6000 | 2006 | 2013.1 Histology tent | Histology, Winship Herr
3552 / 3553 / 1455 / 1497 | Microscopy | Axio Imager M1 motorized microscope with fluorescence and PC and transmitted light with 1 monochrome fluo camera and 1 color camera | ZEISS | Imager M1/ AxioCam MRm / MRc | 2006 | 2013.4 Histology tent | Catherine Moret
3636 / 4133 / 4134 / 4261 / 4262 / 263 | Microscopy | Microscopes | NIKON | SMZ645 / 745 | 2010 | 3038 | Liliane Abuin
4316 | Microscopy | Stereo microscope | LEICA | M205 FCA | 2017 | 4003 | Fisun Hamaratoglu
1599 | Mobile anesthesia station | Mobile anesthesia station (compressor + adjustment station ) | MATRX PROVET | oxymat 3 | 2005 | 1025 | Frédéric Preitner
1600 | Mobile anesthesia station | Mobile anesthesia station (compressor + adjustment station ) | MATRX PROVET | oxymat 3 | 2005 | 1024 | Frédéric Preitner
1602 | Mobile anesthesia station | Mobile anesthesia station | MATRX PROVET | oxymat 3 | 2005 | 1029 Local sleep | Yann Emmenegger
1644 | Mobile anesthesia station | Mobile anesthesia station (compressor + adjustment station ) | MATRX PROVET | VIP 3000 | 2005 | 1025 | Frédéric Preitner
4240 | Mobile anesthesia station | Mobile anesthesia station | PROVET | Oxymat 3 | 2013 | 4033 | Maykel Duarte Lopez
3126 | Mouse cage | Protected enclosure | CHARLES RIVER | 4 Doors transformed in 2 Doors for Pets | 2005 | 1030.2 Local sleep | Yann Emmenegger
3179 | Mouse cage | Protected enclosure for pets | CHARLES RIVER | 2 Doors | 2005 | 1030.2 Local sleep | Yann Emmenegger
4207 | Mouse cage | Renewal of mouse cage + Bottles + Lids | TRIPLE A TRADING | M79010 | 2014/2016 | 1024 | Frédéric Preitner
4227 | Mouse cage | Circadian cabinets 3 x (cabinet without light for mouse) | PHENOME TECHNOLOGIES INC. | LG-LB | 2010 | 1030 Local sleep | Yann Emmenegger
4303 | Mouse cage | Chambers with mouse cages | SANDOWN SCIENTIFIC |  | 2016 | 1047 | Gwenaël Labouebe
4305 | Mouse cage | Mouse carousel / cages and bibbers | TRIPLE A TRADING | Optimice | 2016 | 1047 | Gwenaël Labouebe
4241 | Mouse cage | Circadian case for mouse cages | PHENOME TECHNOLOGIES INC. | 4 boxes for 48 mice | 2013 | 4033 | Maykel Duarte Lopez
4057 | Muscle tester | Muscle tester SI-MT system | SI HEIDELBERG | DTP-02 | 2010 | 5012 ( on cabinet ) | Wahli Group
2396 | Nitrogen freezer | Liquid nitrogen tank - cell storage | TAYLOR-WHARTON | K-series | 2005 | 1022.1 Freezing room | Frédéric Preitner, Hannes Richter, Carlos Luzolo
4266 | Nitrogen freezer | Liquid nitrogen tank - cell storage | CBS | V 1500AB | 2015 | 1022.1 Freezing room | Carlos Luzolo
2420 | Nitrogen tank | Liquid nitrogen tank for filling cell containers | TAYLOR-WHARTON | XL-240 | 2005 | 1022.1 Freezing room | Carlos Luzolo
4267 | Nitrogen tank | Liquid nitrogen tank for filling cell containers | TAYLOR-WHARTON | XL-240 | 2015 | 1022.1 Freezing room | Carlos Luzolo
4298 | Nitrogen tank | Liquid nitrogen dispenser | CRYOTHERM | APOLLO 150 | 2017 | 1022.1 Freezing room | Carlos Luzolo
3683 | NMR scanner | Nuclear Magnetic Resonance (NMR) body composition analyzer for measurement of fat in live mice | ECHO MEDICAL SYSTEM | ECHO MRI | 2005 | 1025 | Frédéric Preitner
4166 | Office | Set of 7 devices (binder, glue, laminator, trimmer, hoe ...) |  |  |  | 1009 Central store | Noura Egger, Carlos Luzolo Soba
4036 | Osmometer | Osmometer | GONOTEC HASLAB | 30 | 2010 | 5003 | Gwenaël Labouebe
2236 | Oven | Universal oven | MEMMERT | ULE-800 | 2004 | 1007 Local laundry | Joan Justiniano, Iraida Villar
2237 | Oven | Universal oven | MEMMERT | ULE-800 | 2004 | 1007 Local laundry | Joan Justiniano, Iraida Villar
1421 | Paraffin dispenser | Paraffin dispenser for histology | LEICA | EG1140H | 2000 | 2013 Histology | Catherine Moret
3563 | Paraffin dispenser | Cold platinum | MICROM | EC 350-1 / EC 350-2 | 2006 | 2013 Histology | Catherine Moret
3914 | Paraffin dispenser | Paraffin dispenser for histology | LEICA | EG 1150 H | 2007 | 2013 Histology | CIG general
2550 | Particle measurement | DynaPro titan batch with peltier light scattering detector | WYATT TECHNOLOGY | 1204 | 2006 | 2022 CIG commun | CIG General
2220 | PCR/QPCR | Real-time PCR | CORBETT RESEARCH | Real-Time DNA | 2005 | 4020 Common room | François Mange, Meghdad Yeganeh Seghalaksari
4083 | PCR/QPCR | PCR machine | BIOMETRA | T3000 PROFESSIONAL | 2013 | 4035 | Vincent Dion
4307 | PCR/QPCR | PCR machine | BIOMETRA | T Gradient | 2015 | 4035 | Lorène Aeschbach
1351 | PCR/QPCR | Thermocycler | HYBAID | HBPX220 | 1999 | 5016 Common room | Common Groups 5th
1549 | PCR/QPCR | Thermocycler 20/20/20 | BIOMETRA | T3 | 2004 | 2013 Genotyping | Fabienne Lammers, Katharina Hausherr
1633 | PCR/QPCR | Thermocycler 48/48/48 | BIOMETRA | T3000 | 2005 | 2013 Genotyping | Fabienne Lammers, Katharina Hausherr
1634 | PCR/QPCR | Thermocycler 48/48/48 | BIOMETRA | T3000 | 2005 | 2013 Histology | Fabienne Lammers, Katharina Hausherr
2609 | PCR/QPCR | PCR machine | EPPENDORF | Matercycler Gradient | 2004 | 3016 | Pascal Cousin
2880 | PCR/QPCR | Real-time PCR | AGILENT TECHNOLOGIES | MX3005P | 2006 | 5003.2 Common room | Michaël Baruchet
2934 | PCR/QPCR | NOT FOUND ! Thermocycler 48/48/48 | BIOMETRA | T3000 | 2005 | 5eme ??? | ???
3180 | PCR/QPCR | Real-time PCR | APPLIED BIOSYSTEMS | ABI 7500 | 2005 | 5015.1 Common room | Thorens Group
3501 | PCR/QPCR | PCR machine | EPPENDORF | Matercycler Gradient | 2004 | 3023 Common room | Kaessmann
3502 | PCR/QPCR | PCR machine | EPPENDORF | Matercycler Gradient | 2004 | 3023 Common room | Kaessmann
3647 | PCR/QPCR | PCR machine | BIO-RAD | Tetra D |  | 3025 Common room | Jacqueline Chrast
3874 | PCR/QPCR | PCR machine | EPPENDORF | Mastercycler gradient | 2004 | 3023 Common room | Jacqueline Chrast
3880 | PCR/QPCR | Real-time PCR | STRATAGENE | MX3005P | 2010 | 5015.1 Common room | Michaël Baruchet 5th floor common
3892 | PCR/QPCR | PCR machine | BIOMETRA | T3000 | 2010 | 5015.1 Common room | Thorens group
3893 | PCR/QPCR | PCR machine | BIOMETRA | T3000 | 2010 | 5015.1 Common room | Thorens group
3994 | PCR/QPCR | Real-time PCR | STRATAGENE | MX3050P | 2012 | 5015.1 Common room | Michaël Baruchet 5eme commun
4282 | PCR/QPCR | PCR machine | EPPENDORF | Nexus Gradient Flexid | 2014 | 5015.1 Common room | Brigitte Delacuisine
4283 | PCR/QPCR | PCR machine | LABGENE | Multigene | 2006 | 5015.1 Common room | Brigitte Delacuisine
4284 | PCR/QPCR | PCR machine | EPPENDORF | Mastercycler | 2006 | 5015.1 Common room | Brigitte Delacuisine
2800 | PCR/QPCR | Thermocycler 48/48/48 | BIOMETRA | T3000 | 2005 | 4017 | Laure Allenbach Petrolati, Martine Trevisan
4235 | PCR/QPCR | PCR machine | BIOLABO | T3 Thermocycler | 2005 | 4016 | Laure Allenbach Petrolati, Martine Trevisan
4256 | PCR/QPCR | PCR machine | BIOMETRA | Tadvanced 96 Gradient | 2016 | 4016 | Laure Allenbach Petrolati, Martine Trevisan
4234 | PCR/QPCR | PCR machine | BIOMETRA | T Professional Basic | 2010 | 4014 | Laure Allenbach Petrolati, Martine Trevisan
4239 | pH-meter | pH-meter | METROHM | 827 pH lab | 2015 | 5040 Common room | Christiane Freymond
1558 | Pipette plugger | Apparatus for putting cotton in glass pipettes | BELLCO BIOTECHNOLOGY | Pipette plugger | 2004 | 1007 Local laundry | Joan Justiniano, Iraida Villar
3615 | Pipetting robot | Robot for real-time PCR preparation | CORBETT RESEARCH | CAS-1200 | 2006 | 4020 Common room | François Mange, Meghdad Yeganeh Seghalaksari
4355 | Pipetting robot | Robot for analysis | S&P Robotics INC | BM5 Standalone System | 2018 | 4033 | Maykel Duarte Lopez
2234 | Pipetting robot | Robot pipetting / genotyping platform + 2 microplate holders + computer | TECAN | Freedom EVO | 2004 | 2013 Genotyping | Fabienne Lammers, Katharina Hausherr
2507 | Pipetting robot | Laminar flow pipetting robot platform with incubator | TECAN | 150 Base Unit | 2006 | 2022 CIG commun | CIG General, Hannes Richter
2770 | Pipetting robot | Robot pipetting / genotyping platform | TECAN | Freedom EVO | 2006 | 3036 | Alexandre Reymond
3558 | Pipetting robot | Robot pipetting / Genotyping platform + thermostat station | TECAN | Freedom EVO | 2005 | 2013 | Alexandre Reymond
3638 | Pipetting robot | Robot pipetting / genotyping platform | TECAN | Freedom EVO | 2006 | 3025 Common room | Alexandre Reymond
4117 | Pipetting robot | Pipetting Robot | MULTICHANNEL SYSTEMS | Roboinject | 2013 | 2013 | Benoîte Bargeton
4213 | Pipetting robot | Robot for sample library | DIAGENODE | SX-8G IP-Star Compact | 2011 | 3036 | Michaël Wiederkehr
4354 | Pipetting robot | Robot for pipetting system | GILSON | Platemaster P220 | 2018 | 4013 | Maykel Duarte Lopez
4206 | Plant incubator | Incubator for plants | CLF PLANT CLIMATICS | E-36L/4 | 2011 | Biophore | Christian Frankhauser
3617 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | PERCIVAL SCIENTIFIC | CU-36L5 | 2006 | 4th Northeast corridor | Laure Allenbach Petrolati, Martine Trevisan
4257 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | PERCIVAL SCIENTIFIC | SE-41L | 2016 | 4th East Corridor | Laure Allenbach Petrolati, Martine Trevisan
2865 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | CLF PLANT CLIMATICS | ARL22L | 2012 | 4036 Common room | Laure Allenbach Petrolati, Martine Trevisan
2308 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | PERCIVAL SCIENTIFIC | Intellus | 2005 | 4021 | Laure Allenbach Petrolati, Martine Trevisan
3622 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | PERCIVAL SCIENTIFIC | E-30LED | 2006 | 4021 | Laure Allenbach Petrolati, Martine Trevisan
3624 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | SANYO | MIR-153 | 2006 | 4021 | Laure Allenbach Petrolati, Martine Trevisan
3625 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | SANYO | MIR-153 | 2006 | 4021 | Laure Allenbach Petrolati, Martine Trevisan
3626 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | SANYO | MIR-153 | 2006 | 4021 | Laure Allenbach Petrolati, Martine Trevisan
4230 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | PERCIVAL SCIENTIFIC | AR-41-2X | 2010 | 4021 | Laure Allenbach Petrolati, Martine Trevisan
4231 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | PERCIVAL SCIENTIFIC | E-30 NLX | 2012 | 4021 | Laure Allenbach Petrolati, Martine Trevisan
4198 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | PERCIVAL SCIENTIFIC | SE-41L-AR2X | 2014 | 1026 Plant room | Laure Allenbach Petrolati, Martine Trevisan
4199 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | PERCIVAL SCIENTIFIC | SE-41L-AR2X | 2014 | 1026 Plant room | Laure Allenbach Petrolati, Martine Trevisan
4202 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | PERCIVAL SCIENTIFIC | I-66L / 4 | avant 2005 | 1026 Plant room | Laure Allenbach Petrolati, Martine Trevisan
4317 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | PERCIVAL SCIENTIFIC | AR-22LX | 2017 | 1026 Plant room | Laure Allenbach Petrolati, Martine Trevisan
4348 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | PERCIVAL SCIENTIFIC | AR-22LX | 2018 | 1026 Plant room | Laure Allenbach Petrolati, Martine Trevisan
4349 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | PERCIVAL SCIENTIFIC | AR-36L3X | 2018 | 1026 Plant room | Laure Allenbach Petrolati, Martine Trevisan
2830 | Plant incubator | Thermostatically controlled cabinet with lighting system for plant cultivation | PERCIVAL SCIENTIFIC | I-30LED TRI | 2004 | 4014 | Laure Allenbach Petrolati, Martine Trevisan
2754 | Port communicator system | Port communicator system with 14 electronics as one unit | MULTRADE DONNER GMBH |  | 2005 | 1029 Local sleep | Yann Emmenegger
2312 | Radioactivity | Geiger counter | RADITEC | GM1 | 2005 | 5016.1 Common room | Frédéric Preitner, David Gatfield
2313 | Radioactivity | Geiger counter | RADITEC | GM1 | 2005 | 5016.1 Common room | Frédéric Preitner, David Gatfield
3568 | Radioactivity | BETA counter / Liquid scintillation analyzer | PERKIN ELMER | Tri-Carb 2900TR | 2007 | 5015 Common room | Frédéric Preitner, David Gatfield
3569 | Radioactivity | GAMMA counter / Scintillation counter | PACKARD | Cobra 2 / D5005 | 2006 | 5015 Common room | Frédéric Preitner, David Gatfield
4322 | Radioactivity | Geiger counter Beta Gamma | ISOTRAK | AB-100 | 2005 | 5016.1 Common room | Frédéric Preitner, David Gatfield
3565 | Robot slide stainer | Staining robot for histology / robot-stainer | MICROM | HMS 760X | 2006 | 2013 Histology | Catherine Moret
1951 | Rotating incubator | Roto shake genie (enviro-incubator&shaker) | SCIENTIFIC INDUSTRIES | S1-1204 | 2004 | 4036 Common room | Pascal Cousin
4242 | Rotating incubator | Roto shake genie (enviro-incubator and shaker) | SCIENTIFIC INDUSTRIES | Enviro-Genie S1-1204 | 2004 | 4032 | Hernandez Group
1948 | Rotating incubator | Roto shake genie (enviro-incubator&shaker) | SCIENTIFIC INDUSTRIES | S1-1204 | 2004 | 4030 | Pascal Cousin
1950 | Rotating incubator | Roto shake genie (enviro-incubator&shaker) | SCIENTIFIC INDUSTRIES | S1-1204 | 2004 | 4030 | Pascal Cousin
4118 | RT Biolumicorder | Real-time bioluminescence (mouse luminescence recording) Slave module | LESA TECHNOLOGIES | RT-Biolumicorder-mast / slave | 2013 | 1030.2 Local sleep | Yann Emmenegger
2276 | Sequencing | Pyrosequencer | BIOTAGE | PSQ 96MA | 2004 | 3025 Common room | Jacqueline Chrast
2149 | Shelf for plant irradiation | Shelf for plant irradiation | RDW |  | 2004 | 1026 Plant room | Laure Allenbach Petrolati, Martine Trevisan
2150 | Shelf for plant irradiation | Shelf for plant irradiation | RDW |  | 2004 | 1026 Plant room | Laure Allenbach Petrolati, Martine Trevisan
2151 | Shelf for plant irradiation | Shelf for plant irradiation | RDW |  | 2004 | 1026 Plant room | Laure Allenbach Petrolati, Martine Trevisan
2152 | Shelf for plant irradiation | Shelf for plant irradiation | RDW |  | 2004 | 1026 Plant room | Laure Allenbach Petrolati, Martine Trevisan
4039 | Signal aquisition | Amplifier multiclamp and digitizer | DIGIDATA | 700B / 14440A | 2010 | 5003 | Gwenaël Labouebe
4051 | Signal aquisition | Inteligent Data Aquisition Controler ( multi-manipulator controller / controller MPC-200 / acquisition IDAC4 ) / Taste Prob ) | SYNTECH | IDAC4 / MPC-200 / IDAC4 | 2013 | 3038 | Juan Sanchez Alcaniz
4052 | Signal aquisition | Inteligent Data Aquisition Controler ( multi-manipulator controller / controller MPC-200 / acquisition IDAC4 ) / Taste Prob ) | SYNTECH | IDAC4 / MPC-200 / IDAC4 | 2013 | 3038 | Juan Sanchez Alcaniz
4115 | Signal aquisition | Amplifier | DAGAN CORPORATION | TEV 200-A | 2013 | 2013 | Benoîte Bargeton
4116 | Signal aquisition | Acquisition system low-noise data | DIGIDATA AXON CNS MOLECULAR DEVICE | 1440A | 2013 | 2013 | Benoîte Bargeton
2229 | Sleep recorder | Sleep recorder | SOMNOLOGICA SCIENCE | Embla A10 | 2005 | 1030 Local sleep | Yann Emmenegger
2738 | Sleep recorder | Sleep Recorder | MEDCARE | Embla A10 Base system | 2004 | 1029 Local sleep | Yann Emmenegger
2739 | Sleep recorder | Sleep Recorder | MEDCARE | Embla A10 Base system | 2004 | 1029 Local sleep | Yann Emmenegger
2861 | Sonicator / Homogenizer | Tissue Lyser with ball | RETSCH | 69997 | 2005 | 4036 Common room | Alessandra Boccacini
2863 | Sonicator / Homogenizer | Sonicator / Cell disruptor | SONICS | VC750 | 2006 | 4036 Common room | Alessandra Boccacini
1967 | Sonicator / Homogenizer | Sonicator / Cell disruptor | BIORUPTOR | Bioruptor | 2004 | 4019 | Bin Yang / Michaël Wiederkehr
81 | Sonicator / Homogenizer | Sonicator / Cell disruptor | HEAT-SYSTEM ULTRASONIC | W-375 | 80 | 5040 Common room | Michaël Baruchet
2102 | Sonicator / Homogenizer | French press | THERMO ELECTRON CORPORATION | Cell Disrupter | 2005 | 2022 CIG commun | CIG General
2864 | Sonicator / Homogenizer | Sonicator / Cell disruptor | SONICS | VC750 | 2006 | 5040.1 Common room | Common Groups 5th
3539 | Sonicator / Homogenizer | Sonicator / Cell disruptor | TELSONIC | TPC-280 | 2005 | Technical local | Stéphane Porchet
4000 | Sonicator / Homogenizer | Sonicator / Cell disruptor | DIAGENODE | UCD-200TM-EX | 2012 | 5016.2 Common room | Xavier Berney
4088 | Sonicator / Homogenizer | Homogenizer | MILTENYI BIOTEC | GentleMACS Dissociator - 25 tubes | 2009 | 5037 | Desvergne Group
4172 | Sonicator / Homogenizer | Lysis homogenization ( ARN extraction ) | BERTIN TECHNOLOGIES | Precellys 24 | 2013 | 5032 | Xavier Berney
4220 | Sonicator / Homogenizer | Sonicator / Cell disruptor - Pico sonication device | DIAGENODE | Bioruptor | 2014 | 5016 Common room | Tiziana Caputo
4278 | Sonicator / Homogenizer | Homogenizer | MILTENYI BIOTEC | gentleMACS Dissociator | 2016 | 3009 | Yann Emmenegger
4294 | Sonicator / Homogenizer | Sonicator / Cell disruptor | DIAGENODE | Bioruptor Plus and Water Cooler | 2012 | 5040 Common room | Isabel Lopez Mejia
1975 | Spectrophotometer (-fluorimeter) | Spectrophotometer with printer | BIOCROM | Libra S12 | 2004 | 4020 Common room | Bin Yang
4246 | Spectrophotometer (-fluorimeter) | Spectrophotometer | IMPLEN | NP80-Touch | 2014 | 4020 Common room | Ganesh Nawkar
3619 | Spectrophotometer (-fluorimeter) | Spectrophotometer with diode network | AGILENT TECHNOLOGIES | 8453 | 2006 | 4021 | Laure Allenbach Petrolati, Martine Trevisan
1488 | Spectrophotometer (-fluorimeter) | Spectrophotometer with diode network | WPA BIOWAVE | WPA S2100 | 2002 | 5015.1 Common room | Michaël Baruchet
1554 | Spectrophotometer (-fluorimeter) | Chameleon multilabel fluorescence luminescence platereader with injector | HIDEX | 425-105 | 2004 | 3023 Common room | Steeve Cruchet
1764 | Spectrophotometer (-fluorimeter) | Spectrophotometer | BIOCHROM | Libra S22 | 2004 | 3023 Common room | Steeve Cruchet
1816 | Spectrophotometer (-fluorimeter) | Spectrophotometer | NANO DROP | ND-1000 | 2005 | 3023 Common room | Steeve Cruchet
3566 | Spectrophotometer (-fluorimeter) | Network spectrofluorimeter / luminometer | TECAN | Saphire II | 2007 | 2022 CIG commun | CIG General
3573 | Spectrophotometer (-fluorimeter) | Bioanalyzer for CHIPS / ARN analysis | AGILENT TECHNOLOGIES | 2100 | 2006 | 5015.1 Common room | Michaël Baruchet
3642 | Spectrophotometer (-fluorimeter) | Spectrofluorimeter / Luminometer / Photometer / Multilabel reader | PERKIN ELMER | EnVision | 2007 | 2022 CIG commun | CIG General
3648 | Spectrophotometer (-fluorimeter) | 96-well microplate luminometer | PROMEGA | GLOMAX / Infinity M200 | 2006 | 2013.3 Histology tent | ???
3884 | Spectrophotometer (-fluorimeter) | Spectrophotometer | THERMOSCIENTIFIC | X ND-8000 | 2010 | 5015.1 Common room | Justine Pascual 5th floor common
4070 | Spectrophotometer (-fluorimeter) | Microplate reader with absorbance and fluorescence and Magellan software | TECAN | Infinite M200 | 2009 | 2013.3 Histology tent | ???
4243 | Spectrophotometer (-fluorimeter) | Spectrophotometer | NANO DROP | ND-1000 | 2005 | 5033 | Gatfield Group
4321 | Spectrophotometer (-fluorimeter) | Spectrophotometer | BIOTEK | EPOCH2 | 2017 | 5015.1 Common room | Wanda Dolci, Xavier Berney
3689 | Stereotaxic instruments | Stereotaxie frame / Micromanipulators | KOPF | 900 | 2007 | 1025 | Frédéric Preitner
4097 | Stereotaxic instruments | Stereotactic boards 3 X | KOPF |  | 2005 | 1029 Local sleep | Yann Emmenegger
4302 | Stereotaxic instruments | Stereotactic set | STOELTING EUROPE | 51733D / 51449V / 51630 / 51609M | 2016 | 1047 | Sophie Croisier
4249 | ThermoMixer | Heating / Cooling + Stirring / Vortexing block | EPPENDORF | ThermoMixer C | 2015 | 3005 | Jacqueline Chrast
4251 | ThermoMixer | Heating / Cooling + Stirring / Vortexing block | EPPENDORF | ThermoMixer C | 2014 | 3039 | Jacqueline Chrast
1420 | Tissue processor | Inclusion automaton (filtration and double load) Histokinette | LEICA | TP1020 | 2000 | 2013 Histology | Catherine Moret
3549 | Ultrasonic bath | Ultrasonic bath | VWR | USC300T | 2006 | 2022 | Gilles Willemin
3589 | UV irradiatior | Iradiator 365nm, 312nm, 254nm | VILBER LOURMAT | Bio Sun | 2006 | 5038 Cell culture | Thanh Nguyen
841 | UV-crosslinker | Crosslinking apparatus | STRATAGENE | UV-Stratalinker | 1992 | 5015.1 Common room | Michaël Baruchet
1765 | UV-crosslinker | Crosslinking apparatus | VILBERT LOURMAT | BLX-E254 | 2004 | 3023 Common room | Common Groups 3th
1569 | Washing machine | Laboratory washer disinfector | BELIMED | LA-280 1ST | 2004 | 1007 Local laundry | Joan Justiniano, Iraida Villar
1570 | Washing machine | Laboratory washer disinfector | BELIMED | LA-280 1ST | 2004 | 1007 Local laundry | Joan Justiniano, Iraida Villar
1571 | Washing machine | Laboratory washer disinfector | BELIMED | LA-280 1ST | 2004 | 1007 Local laundry | Joan Justiniano, Iraida Villar
2188 | Washing machine | Washing and disinfecting machine | MIELE | G7883CD | 2003 | 1007 Local laundry | Joan Justiniano, Iraida Villar
2588 | Washing machine | Laboratory washer disinfector | BELIMED | LA-280 1ST | 2006 | 1007 Local laundry | Joan Justiniano, Iraida Villar
4369 | Water purification system | Micropure water | MILLIPORE | Milli-Q IQ7000 | 2018 | 4020 Common room | Alessandra Boccacini
2086 | Water purification system | Micropure water | MILLIPORE | Biocel | 2005 | 4030 | Pascal Cousin
4248 | Water purification system | Micropure water | MILLIPORE | Milli-Q Biocell | 2005 | 4012 | Fabienne Lammers
4272 | Water purification system | Micropure water | MILLIPORE | Milli-Q Reference | 2016 | 3010.2 Common room | Liliane Abuin
4330 | Water purification system | Micropure water | MILLIPORE | Milli-Q IQ7000 | 2017 | 5040 | Common Groups 5th
4370 | Water purification system | Micropure water | MILLIPORE | Milli-Q IQ7000 | 2018 | CIG General | CIG General
3155 | Xenopus breeding | Water treatment unit XENOPLUS | TECNIPLAST | WTU001R | 2006 | 1004 Xenops | Benoîte Bargeton
3156 | Xenopus breeding | Stainless steel rack for 9 Xenopus tanks | INDULAB | XP09B100 | 2006 | 1004 Xenops | Benoîte Bargeton
3157 | Xenopus breeding | Stainless steel rack for 9 Xenopus tanks | INDULAB | XP09B100 | 2006 | 1004 Xenops | Benoîte Bargeton
3158 | Xenopus breeding | Stainless steel rack for 9 Xenopus tanks | INDULAB | XP09B100 | 2006 | 1004 Xenops | Benoîte Bargeton
3159 | Xenopus breeding | Stainless steel rack for 9 Xenopus tanks | INDULAB | XP09B100 | 2006 | 1004 Xenops | Benoîte Bargeton