## FastRed
Phenotyping Coloration |  |  |  | Lab.2013 / Catherine MORET
MASSON FONTANA KIT
Target: This coloration stain highlights the melanin in histological samples
Control: | Skin
|  |  | Sections: | Paraffin section 4µm
Fixatives: | PFA 4%, Formalin 10%
METHOD | Drop the reagent and cover completely the section |  | RESULTS
I suggest to use a wet chamber in order to avoid the
dray of section
Control: | 2 sections of each sample should be prepared:
The first will be pre-treated in order to check the
reaction specificity.
Pre-Treatament:
1) | Dewax and Rehydrate to H2Od |  | In the pre-treated section the melanin will
2) | 5 drops of reagent B + 5 drops of reagent C | 30 min | be not stained in black
3) | Wash in distilled water |  | The comparison with the 2 sections
4) | Reagent D for | 5 min | identify the real presence of melanin
Masson Fontana stain: |  |  | RESULTS
1) | Dewax and Rehydrate to H2Od
2) | Reagent A at 56°C no more, cause precipitation! | 35 min | Melanin, Argentafin substance |  | Black
3) | Wash in distilled water
4) | Reagent E for | 2 min
5) | Wash in distilled water
6) | Reagent F for | 5 min | Nuclei |  | Red
7) | Wash in distilled water
8) | Dehydrate, clear and cover sections
| Skin tumor |  | normal Skin
For all questions, ask Catherine Moret / 4132
CIG/PHENO |  |  |  |  | 1